P.S.A., Inc.

www.psaincorporated.com 
#5 Innwood Circle, Suite 106

Little Rock, AR 72211

Phone: (501) 312.8700

Fax: (501) 312.8701
Quotation
Confidential Document

	  Project:
	 Arby’s Jacksonville
	Quote #:
	92211-01R

	Location:
	Jacksonville, AR
	Bid Date:
	ASAP

	Architect:
	
	Date:
	9/22/11

	Engineer:
	
	Page 1 of  1

	
	
	

	
	
	


                                                                                                                           COMMENTS  \* MERGEFORMAT 
 ALL PRICES LIST UNLESS NOTED….CALL FOR DISCOUNTS
QUOTE VALID FOR 6 MONTHS FROM QUOTE DATE (quote # above)
ALL PRODUCTS SUBJECT TO ENGINEER APPROVAL

	
	ITEMS
	LIST

	WC1
	Stops & Supplies: McGuire 2166
	14.70

	WC2
	
	

	
	
	

	UR1
	Flush Valve: Delany 451-1-T42
	116.00

	
	Carrier: Josam 17560-UR
	441.50

	
	
	

	L1
	Faucet: T&S Brass B-2711-LH
	181.50

	
	Drain: McGuire 155WCECO
	31.43

	
	P-Trap: McGuire 8872CECO
	31.97

	
	Stops & Supplies: McGuire 2165
	24.49

	
	Insulation: McGuire PW2000WC
	91.84

	
	
	

	L2
	Faucet: T&S Brass B-0892
	223.00

	
	Drain: McGuire 155WCECO
	31.43

	
	P-Trap: McGuire 8872CECO
	31.97

	
	Stops & Supplies: McGuire 2165
	24.49

	
	Insulation: McGuire PW2000WC
	91.84

	
	Carrier: Josam 17100`
	483.84

	
	
	

	SK1
	Faucet: T&S Brass B-0665BSTR
	179.50

	
	Mop Hanger: T&S Brass B-0653
	60.00

	
	Hose & Hook: T&S Brass B-0654
	35.00

	
	
	

	FS3
	Floor Sink: Josam 49320A-Z-55-33-35
	2091.39

	
	
	

	FPWH
	Wall Hydrant: Josam 71050-12
	526.17

	
	
	

	TMV
	Mixing Valve: Leonard C-210-AF-BR-STSTL
	869.00

	
	
	

	WH1
	Water Heater: Rinnai RL94i includes isolation valves
	1801.00

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	                      ALL MCGUIRE ECO PRODUCTS ARE CASE QTY 25
	

	
	ALL PRODUCTS SUBJECT TO ENGINEERS APPROVAL
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	


 COMMENTS  \* MERGEFORMAT 

 COMMENTS  \* MERGEFORMAT 






