P.S.A., Inc.

 #5 Innwood Circle, Suite 106

Little Rock, AR 72211

Phone: (501) 312.8700

Fax: (501) 312.8701

Quotation
Confidential Document

	  Project:
	Boston Mountain Health Medical Clinic
	Quote #:
	060707-05

	Location:
	Huntsville, AR 
	Bid Date:
	6/19/07

	Architect:
	Lee & Associates 
	Date:
	 6/7/2007

	Engineer:
	
	Page 1 of  1


                                                                                                                           COMMENTS  \* MERGEFORMAT 
 ALL PRICES LIST UNLESS NOTED….CALL FOR DISCOUNTS
QUOTE VALID FOR 6 MONTHS FROM QUOTE DATE (quote # above)
ALL PRODUCTS SUBJECT TO ENGINEER APPROVAL

	
	ITEMS
	LIST

	L-1
	Faucet: T&S Brass B-2710
	186.74

	
	P-Trap: McGuire C8872C
	32.36

	
	Stops & Supplies: McGuire 2165LK
	24.49

	
	
	

	L-2
	Same as L-1
	

	
	NOTE: Cannot have an offset drain with a pop-up
	

	
	
	

	S-1
	Faucet: T&S Brass  B-2866-05
	221.86

	S-2
	Drain: McGuire 151A
	27.39

	
	P-Trap: McGuire C8912C
	35.37

	
	Stops & Supplies: McGuire 2165LK
	24.49

	
	
	

	EWC
	P-Trap: McGuire C8872C
	32.36

	
	Stops & Supplies: McGuire ST17LK
	8.26

	
	Carrier: JOSAM 17550-WC
	292.00

	
	
	

	SS
	Faucet: T&S Brass B-0665-BSTR
	152.90

	
	Mop Hanger: T&S Brass B-0653
	50.84

	
	Hose & Hook: T&S Brass B-0654
	29.43

	
	
	

	FD
	JOSAM: 30004-6A-Y
	241.00

	
	
	

	WCO
	JOSAM 3” 58604-COT(3)
	173.00

	
	             4” 58604-COT(4)
	239.00

	
	
	

	FCO
	JOSAM: 3” 58363-Y
	233.00

	
	              4” 58364-Y
	267.00

	
	
	

	ECO
	JOSAM: 3” 55003-Z
	202.00

	
	              4”  55004-Z
	246.00

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	             
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	ALL PRODUCTS SUBJECT TO ENGINEERS APPROVAL
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	


 COMMENTS  \* MERGEFORMAT 

 COMMENTS  \* MERGEFORMAT 






