P.S.A., Inc.

www.psaincorporated.com 
#5 Innwood Circle, Suite 106

Little Rock, AR 72211

Phone: (501) 312.8700

Fax: (501) 312.8701
Quotation
Confidential Document

	  Project:
	Cabot High School Science Lab
	Quote #:
	10411-01R

	Location:
	Cabot, AR
	Bid Date:
	ASAP

	Architect:
	Lewis and Associates
	Date:
	10/4/11

	Engineer:
	Lewis and Associates 
	Page 1 of  1

	
	
	

	
	
	


                                                                                                                           COMMENTS  \* MERGEFORMAT 
 ALL PRICES LIST UNLESS NOTED….CALL FOR DISCOUNTS
QUOTE VALID FOR 6 MONTHS FROM QUOTE DATE (quote # above)
ALL PRODUCTS SUBJECT TO ENGINEER APPROVAL

	
	ITEMS
	LIST

	WC-1
	Flush Valve: Delany I1402-1.6-T42
	396.00

	
	
	

	L-1
	Faucet: T&S Brass B-2711
	180.50

	
	Drain: McGuire 155WCECO
	31.43

	
	P-Trap: McGuire 8872CECO
	31.96

	
	Stops & Supplies: McGuire 2165LK
	28.28

	
	Insulation: McGuire PW2000WC
	91.84

	
	Carrier: Josam 17100
	522.55

	
	
	

	SS-1
	Faucet: T&S Brass B-0665BSTR
	179.50

	
	Mop Hanger: T&S Brass B-0653
	60.00

	
	Hose & Hook: T&S Brass B-0654
	35.00

	
	
	

	FD-1
	Floor Drain: Josam 30000-6A-Y
	5000.00

	FD-2
	
	

	
	
	

	FD-3
	Floor Drain: Orion FD3-VP-TP-FC
	1538.60

	
	
	

	LS-1
	Bottle Trap: Orion BT-2
	159.30

	LS-2
	Stops & Supplies: McGuire 2165LK
	28.28

	LS-3
	
	

	
	
	

	NT-1
	Acid Dilution Tank: Style 5 150 Gallon
	3644.00

	
	Limestone 1700lbs
	782.00

	
	
	

	ES-1
	Emergency Eyewash: Guardian GBF1658/GBF1724-T
	1188.52

	
	
	

	FCO-1
	Floor Cleanout: Orion
	

	
	3” 
	798.10

	
	4”
	860.50

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	                      ALL MCGUIRE ECO PRODUCTS ARE CASE QTY 25
	

	
	ALL PRODUCTS SUBJECT TO ENGINEERS APPROVAL
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	


 COMMENTS  \* MERGEFORMAT 

 COMMENTS  \* MERGEFORMAT 






