P.S.A., Inc.

www.psaincorporated.com 
#5 Innwood Circle, Suite 106

Little Rock, AR 72211

Phone: (501) 312.8700

Fax: (501) 312.8701
Quotation
Confidential Document

	  Project:
	Central Baptist College
	Quote #:
	72711-01R

	Location:
	Conway, AR
	Bid Date:
	ASAP

	Architect:
	Sowell Architects
	Date:
	7/27/11

	Engineer:
	HSA
	Page 1 of  1

	
	
	

	
	
	


                                                                                                                           COMMENTS  \* MERGEFORMAT 
 ALL PRICES LIST UNLESS NOTED….CALL FOR DISCOUNTS
QUOTE VALID FOR 6 MONTHS FROM QUOTE DATE (quote # above)
ALL PRODUCTS SUBJECT TO ENGINEER APPROVAL

	
	ITEMS
	LIST

	P-1
	Flush Valve: Delany F1302-1.6-T42
	600.00

	P-2
	
	

	
	
	

	P-3
	Flush Valve: Delany F1351-1-T42
	600.00

	P-4
	Carrier: Josam 17560-UR
	441.50

	
	
	

	P-5
	Faucet: T&S Brass 5EF-2D-DS
	432.50

	P-6
	Drain: McGuire 155AECO
	16.91

	
	P-Trap: McGuire 8872CECO
	31.96

	
	Stops & Supplies: McGuire 2165LK
	28.28

	
	Insulation: McGuire PW2000
	76.48

	
	Carrier: Josam 17100
	522.55

	
	
	

	P-7
	Faucet: T&S Brass B-2867-04
	280.00

	
	Drain: McGuire 151A
	31.63

	
	P-Trap: McGuire 8912CECO
	33.94

	
	Stops & Supplies: McGuire 2165LK
	28.28

	
	
	

	P-8
	Faucet: T&S Brass B-0665BSTR
	179.50

	
	Mop Hanger: T&S Brass B-0653
	60.00

	
	Hose & Hook: T&S Brass B-0654
	35.00

	
	
	

	P-9
	P-Trap: McGuire 8872CECO
	31.96

	
	Stops & Supplies: McGuire ST17LK
	9.54

	
	Carrier Bi Level: Josam 17560-WCBL
	874.54

	
	
	

	P-10
	Floor Drain: Josam 30000-5A-Y
	266.11

	
	
	

	P-14
	Floor Sink: Josam 49300-Y-NB-3
	1216.86

	
	
	

	P-15
	Wall Cleanout: Josam
	

	
	3” 58604-CO3
	160.87

	
	4” 58604-CO4
	191.13

	
	
	

	P-18
	Floor Cleanout: Josam
	

	
	3” 55003-Z
	325.00

	
	4” 55004-Z
	386.00

	
	
	

	P-19
	Josam 60611A 75GPM
	16414.27

	
	
	

	P-22
	Roof Drain: Josam 21500-Y-AE-VP-1
	993.09

	
	
	

	P-23
	Water Hammer Arrestor: Josam
	

	
	75000A                                                                                                                        1-11 
	316.92

	
	75000B                                                                                                                      12-32
	641.09

	
	75000C                                                                                                                      33-60
	961.63

	
	75000D                                                                                                                    61-113
	2408.31

	
	75000E                                                                                                                  114-154
	2717.97

	
	75000F                                                                                                                  155-330
	3340.92

	
	
	

	P-25
	Floor Cleanout: Josam
	

	
	3” 55003-Z-2
	369.00

	
	4” 55004-Z-2
	492.00

	
	
	

	P-26
	Faucet: T&S Brass 5EF-2D-DS
	432.50

	
	Drain: McGuire 155AECO
	16.91

	
	P-Trap: McGuire 8872CECO
	31.96

	
	Stops & Supplies: McGuire 2165LK
	28.28

	
	Insulation: McGuire PW2000
	76.48

	
	Carrier: Josam 17100
	522.55

	
	
	

	P-27
	Roof Drain: Josam 21500-Y-AE-VP-1
	993.09

	
	
	

	P-28
	Josam 25014
	348.36

	
	
	

	P-29
	Flush Valve: Delany F1302-1.6-T42
	600.00

	P-30
	
	

	
	
	

	CP-1
	Circulating Pump: Armstrong Astro230SS                                    price includes freight
	351.00

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	                      ALL MCGUIRE ECO PRODUCTS ARE CASE QTY 25
	

	
	ALL PRODUCTS SUBJECT TO ENGINEERS APPROVAL
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	


 COMMENTS  \* MERGEFORMAT 

 COMMENTS  \* MERGEFORMAT 






