P.S.A., Inc.

www.psaincorporated.com 
#5 Innwood Circle, Suite 106

Little Rock, AR 72211

Phone: (501) 312.8700

Fax: (501) 312.8701
Quotation
Confidential Document

	  Project:
	Empowerment Center
	Quote #:
	83011-01R

	Location:
	Little Rock, AR
	Bid Date:
	9/1/11

	Architect:
	RPPY
	Date:
	8/30/11

	Engineer:
	
	Page 1 of  1

	
	
	

	
	
	


                                                                                                                           COMMENTS  \* MERGEFORMAT 
 ALL PRICES LIST UNLESS NOTED….CALL FOR DISCOUNTS
QUOTE VALID FOR 6 MONTHS FROM QUOTE DATE (quote # above)
ALL PRODUCTS SUBJECT TO ENGINEER APPROVAL

	
	ITEMS
	LIST

	FCO
	Floor Cleanout: Josam
	

	
	3” 55003-Z-2-22
	475.00

	
	4” 55004-Z-2-22
	598.00

	
	
	

	WCO
	Wall Cleanout: Josam
	

	EWCO
	3” 58604-CO3
	160.87

	
	4” 58604-CO4
	191.13

	
	
	

	COTG
	Floor Cleanout: Josam
	

	
	3” 55003-Z-22
	431.00

	
	4” 55004-Z-22
	492.00

	
	
	

	P-1
	Flush Valve: Delany 402-1.6-T42
	116.00

	P-1A
	
	

	
	
	

	P-2
	Flush Valve: Delany 451-1-T42
	116.00

	P-2A
	Carrier: Josam 17560-UR
	441.50

	
	
	

	P-3
	Faucet: T&S Brass B-2760H
	359.00

	 
	Drain: McGuire 155AECO
	16.91

	
	P-Trap: McGuire 8872CECO
	31.96

	
	Stops & Supplies: McGuire 2165
	24.49

	
	Insulation: McGuire PW2000
	76.48

	
	Carrier: Josam 17100
	522.55

	
	
	

	P-3A
	Faucet: T&S Brass B-2760H
	359.00

	 
	Drain: McGuire 155WCECO
	31.43

	
	P-Trap: McGuire 8872CECO
	31.96

	
	Stops & Supplies: McGuire 2165
	24.49

	
	Insulation: McGuire PW2000WC
	91.84

	
	Carrier: Josam 17100
	522.55

	
	
	

	P-4
	Faucet: T&S Brass B-2760H
	

	P-4A
	Drain: McGuire 151A
	31.63

	
	P-Trap: McGuire 8912CECO
	33.94

	
	Stops & Supplies: McGuire 2165LK
	28.28

	
	
	

	P-5
	Shower Valve: Leonard 4501-VP
	245.00

	
	
	

	P-6
	Shower Valve: Leonard 4500-501P(G)-30-VP
	415.00

	P-7
	
	

	
	
	

	P-8
	Faucet: T&S Brass B-0665BSTR
	179.50

	
	Mop Hanger: T&S Brass B-0653
	60.00

	
	Hose & Hook: T&S Brass B-0654
	35.00

	
	
	

	P-9
	Floor Drain: Josam 30000-5A-Y
	266.11

	
	
	

	P-12
	Floor Sink: Josam 49300-Y-NB-4
	2502.00

	
	
	

	P-15
	Floor Drain: Josam 30000-5A-Y
	266.11

	
	
	

	P-10
	P-Trap: McGuire 8872CECO
	31.96

	
	Stops & Supplies: McGuire ST17LK
	9.54

	
	Carrier Bi Level: Josam 17560-WCBL
	874.54

	
	Carrier Single Level: Josam 17560-WC
	441.50

	
	
	

	MV-1
	Mixing Valve: Leonard XL-82-BDT
	1900.00

	
	
	

	CP-1
	Circulating Pump: Armstrong Astro250SS                      price includes freight
	370.00

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	                      ALL MCGUIRE ECO PRODUCTS ARE CASE QTY 25
	

	
	ALL PRODUCTS SUBJECT TO ENGINEERS APPROVAL
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	


 COMMENTS  \* MERGEFORMAT 

 COMMENTS  \* MERGEFORMAT 






