P.S.A., Inc.

www.psaincorporated.com 
#5 Innwood Circle, Suite 106

Little Rock, AR 72211

Phone: (501) 312.8700

Fax: (501) 312.8701
Quotation
Confidential Document

	  Project:
	Ft Smith Dialysis 
	Quote #:
	72811-04R

	Location:
	Ft Smith, AR
	Bid Date:
	ASAP

	Architect:
	
	Date:
	7/28/11

	Engineer:
	
	Page 1 of  1

	
	
	

	
	
	


                                                                                                                           COMMENTS  \* MERGEFORMAT 
 ALL PRICES LIST UNLESS NOTED….CALL FOR DISCOUNTS
QUOTE VALID FOR 6 MONTHS FROM QUOTE DATE (quote # above)
ALL PRODUCTS SUBJECT TO ENGINEER APPROVAL

	
	ITEMS
	LIST

	S-1
	Faucet: T&S Brass
	

	
	Drain: McGuire 151A
	31.63

	
	P-Trap: McGuire 8912CECO
	33.94

	
	Stops & Supplies: McGuire 2165LK
	28.28

	
	
	

	S-2
	Faucet: T&S Brass B-2743/2387
	409.50

	
	Drain: McGuire 151A
	31.63

	
	P-Trap: McGuire 8912CECO
	33.94

	
	Stops & Supplies: McGuire 2165LK
	28.28

	
	
	

	NT-1
	Orion Style 5 100 gallon w/ EXT and Heavy Lid
	6220.00

	
	Limestone 1000lbs
	460.00

	
	
	

	SWD-1
	Floor Drain: Josam 30000-5S-Y-F4
	592.70

	
	
	

	FS-1
	Floor Sink: Josam 49360A-Y-3
	1521.68

	
	
	

	COTG-1
	Floor Cleanout: Josam
	

	
	3” 55003-Z-22
	431.00

	
	4” 55004-Z-22
	492.00

	
	
	

	WCO
	Wall Cleanout: Josam
	

	
	3” 58604-CO3
	160.87

	
	4” 58604-CO4
	191.13

	
	
	

	FCO
	Floor Cleanout: Josam
	

	
	3” 55003-Z-22-2
	475.00

	
	4” 55004-Z-22-2
	598.00

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	                      ALL MCGUIRE ECO PRODUCTS ARE CASE QTY 25
	

	
	ALL PRODUCTS SUBJECT TO ENGINEERS APPROVAL
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	


 COMMENTS  \* MERGEFORMAT 

 COMMENTS  \* MERGEFORMAT 






