P.S.A., Inc.

www.psaincorporated.com 
#5 Innwood Circle, Suite 106

Little Rock, AR 72211

Phone: (501) 312.8700

Fax: (501) 312.8701
Quotation
Confidential Document

	  Project:
	Independent Living Center
	Quote #:
	8411-02R

	Location:
	Conway, AR
	Bid Date:
	ASAP

	Architect:
	
	Date:
	8/4/11

	Engineer:
	
	Page 1 of  1

	
	
	

	
	
	


                                                                                                                           COMMENTS  \* MERGEFORMAT 
 ALL PRICES LIST UNLESS NOTED….CALL FOR DISCOUNTS
QUOTE VALID FOR 6 MONTHS FROM QUOTE DATE (quote # above)
ALL PRODUCTS SUBJECT TO ENGINEER APPROVAL

	
	ITEMS
	LIST

	WC-1
	Flush Valve: Delany 402-1.6-T42
	116.00

	
	
	

	UR-1
	Flush Valve: Delany 451-1-T42
	116.00

	
	Carrier: Josam 17560-UR
	441.50

	
	
	

	L-1
	Faucet: T&S Brass B-0871
	169.00

	L-2
	Drain: McGuire 155AECO
	16.91

	
	P-Trap: McGuire 8872CECO
	31.96

	
	Stops & Supplies: McGuire 2165LK
	28.28

	
	Insulation: McGuire PW2000
	76.48

	
	Carrier: Josam 17100
	522.55

	
	
	

	S-1
	Faucet: T&S Brass B-1172
	249.50

	SK-
	Drain: McGuire 151A
	31.63

	
	P-Trap: McGuire 8912CECO
	33.94

	
	Stops & Supplies: McGuire 2165LK
	28.28

	
	Insulation: McGuire PW2000
	76.48

	
	
	

	EWC-1
	P-Trap: McGuire 8872CECO
	31.96

	
	Stops & Supplies: McGuire ST17LK
	9.54

	
	Carrier Bi Level: Josam 17560-WCBL
	874.54

	
	
	

	FD-1
	Floor Drain: Josam 30000-5S-Y
	356.83

	
	
	

	TD-1
	Trench Drain: Amtekco FD-4812
	3049.20

	
	
	

	FS-1
	Floor Sink: Josam 49300-Y
	2500.00

	
	
	

	WH-1,2
	Tankless Water Heater: Rinnai RC98i                                          Isolation Valve Included
	2317.00ea

	
	
	

	PMV-1
	Leonard Megatron 1N
	8100.00

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	                      ALL MCGUIRE ECO PRODUCTS ARE CASE QTY 25
	

	
	ALL PRODUCTS SUBJECT TO ENGINEERS APPROVAL
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	


 COMMENTS  \* MERGEFORMAT 

 COMMENTS  \* MERGEFORMAT 






