P.S.A., Inc.

www.psaincorporated.com 
#5 Innwood Circle, Suite 106

Little Rock, AR 72211

Phone: (501) 312.8700

Fax: (501) 312.8701
Quotation
Confidential Document

	  Project:
	Mulberry
	Quote #:
	12111-02R

	Location:
	
	Bid Date:
	ASAP

	Architect:
	
	Date:
	1/21/11

	Engineer:
	
	Page 1 of  1

	
	
	

	
	
	


                                                                                                                           COMMENTS  \* MERGEFORMAT 
 ALL PRICES LIST UNLESS NOTED….CALL FOR DISCOUNTS
QUOTE VALID FOR 6 MONTHS FROM QUOTE DATE (quote # above)
ALL PRODUCTS SUBJECT TO ENGINEER APPROVAL

	
	ITEMS
	LIST

	P-1
	Stops & Supplies: McGuire 2166
	14.70

	P-2HL
	
	

	P-2HR
	
	

	
	
	

	P-3
	Flush Valve: Delany 451-1-T42
	116.00

	P-3H
	Carrier: Josam 17550-UR
	395.54

	
	
	

	P-4H
	Faucet: T&S Brass B-2711
	171.00

	
	Drain: McGuire 155AECO
	16.91

	
	P-Trap: McGuire 8872CECO
	31.96

	
	Stops & Supplies: McGuire 2167
	39.09

	
	Insulation: McGuire PW2000
	76.48

	
	
	

	P-5H
	P-Trap: McGuire 8872CECO
	31.96

	
	Stops & Supplies: McGuire ST17LK
	9.54

	
	Carrier Bi Level: Josam 17560-WCBL
	874.54

	
	
	

	P-6
	Faucet: T&S Brass B-0665BSTR
	170.50

	
	Mop Hanger: T&S Brass B-0653
	57.00

	
	Hose & Hook: T&S Brass B-0654
	33.00

	
	
	

	P-7H
	Faucet: T&S Brass B-2711
	171.00

	
	Drain: McGuire 155AECO
	16.91

	
	P-Trap: McGuire 8872CECO
	31.96

	
	Stops & Supplies: McGuire 2167
	39.09

	
	Insulation: McGuire PW2000
	76.48

	
	Carrier: Josam 17100
	522.55

	
	
	

	P-8H
	Faucet: T&S Brass B-2730
	232.50

	
	Drain: McGuire 151A
	31.63

	
	P-Trap: McGuire 8912CECO
	33.94

	
	Stops & Supplies: McGuire 2167
	39.09

	
	
	

	P-10
	Ice Maker Box and Valve: Webstone 30227
	29.82

	
	
	

	FS-1
	Floor Sink: Josam 49300-Y-4-55
	1083.81

	
	
	

	FD-1
	Floor Drain: Josam 30000-5A-Y-50
	266.11

	
	
	

	FPWH
	Josam 71050-12
	526.18

	
	
	

	FCO
	Floor Cleanout: Josam
	

	
	3” 55003-Z-2
	369.00

	
	4” 55004-Z-2
	492.00

	
	
	

	WCO
	Wall Cleanout: Josam
	

	
	3” 58604-CO3
	234.66

	
	4” 58604-CO4
	191.13

	
	
	

	COTG
	Floor Cleanout: Josam
	

	
	3” 55003-Z
	325.00

	
	4” 55004-Z
	386.00

	
	
	

	WHA
	Water Hammer Arrestor: Josam
	

	
	75000A                                                                                                                        1-11 
	316.92

	
	75000B                                                                                                                      12-32
	641.09

	
	75000C                                                                                                                      33-60
	961.63

	
	75000D                                                                                                                    61-113
	2408.31

	
	75000E                                                                                                                  114-154
	2717.97

	
	75000F                                                                                                                  155-330
	3340.92

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	ALL PRODUCTS SUBJECT TO ENGINEERS APPROVAL
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	


 COMMENTS  \* MERGEFORMAT 

 COMMENTS  \* MERGEFORMAT 






