P.S.A., Inc.

www.psaincorporated.com 
#5 Innwood Circle, Suite 106

Little Rock, AR 72211

Phone: (501) 312.8700

Fax: (501) 312.8701
Quotation
Confidential Document

	  Project:
	Prairie Grove High School
	Quote #:
	12511-04R

	Location:
	
	Bid Date:
	ASAP

	Architect:
	
	Date:
	12/5/11

	Engineer:
	
	Page 1 of  1

	
	
	

	
	
	


                                                                                                                           COMMENTS  \* MERGEFORMAT 
 ALL PRICES LIST UNLESS NOTED….CALL FOR DISCOUNTS
QUOTE VALID FOR 6 MONTHS FROM QUOTE DATE (quote # above)
ALL PRODUCTS SUBJECT TO ENGINEER APPROVAL

	
	ITEMS
	LIST

	P-1-2
	Flush Valve: Delany 402-1.6-T42
	140.00

	
	
	

	P-3-4
	Flush Valve: Delany 451-1-T42
	140.00

	
	Carrier: Josam 17560-UR
	441.50

	
	
	

	P-5
	Faucet: T&S Brass B-2711 as alternate TMV below deck
	180.00

	P-6
	Drain: McGuire 155AECO
	16.91

	
	P-Trap: McGuire 8872CECO
	31.96

	
	Stops & Supplies: McGuire 2165LK
	28.28

	
	Insulation: McGuire PW2000
	76.48

	
	Carrier: Josam 17100
	522.55

	
	Mixing Valve: Leonard 170
	125.00

	
	
	

	P-7
	Leonard SS-PAM-200-3ISA-BC
	745.00

	
	
	

	P-8
	Leonard 4505
	544.00

	
	
	

	P-9
	P-Trap: McGuire 8872CECO
	31.96

	
	Stops & Supplies: McGuire ST17LK
	9.54

	
	Carrier Bi Level: Josam 17560-WCBL
	874.54

	
	
	

	P-10
	Faucet: T&S Brass B-0665BSTR
	179.50

	
	Mop Hanger: T&S Brass B-0653
	60.00

	
	Hose & Hook: T&S Brass B-0654
	35.00

	
	
	

	P-12
	Floor Drain: Josam 30000-5A-Y-50
	266.11

	
	
	

	P-13
	Floor Sink: Josam 49300-Y-NB
	1216.86

	
	
	

	P-14
	Wall Cleanout: Josam
	

	
	3” 58604-CO3
	160.87

	
	4” 58604-CO4
	191.13

	
	
	

	P-15
	Floor Cleanout: Josam
	

	
	3” 55003-Z
	325.00

	
	4” 55004-Z
	386.00

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	 
	 

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	                      ALL MCGUIRE ECO PRODUCTS ARE CASE QTY 25
	

	
	ALL PRODUCTS SUBJECT TO ENGINEERS APPROVAL
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	


 COMMENTS  \* MERGEFORMAT 

 COMMENTS  \* MERGEFORMAT 






