P.S.A., Inc.

www.psaincorporated.com 
#5 Innwood Circle, Suite 106

Little Rock, AR 72211

Phone: (501) 312.8700

Fax: (501) 312.8701
Quotation
Confidential Document

	  Project:
	Ross Dress For Less
	Quote #:
	10611-03R

	Location:
	Hot Springs, AR
	Bid Date:
	10/10/11

	Architect:
	
	Date:
	10/6/11

	Engineer:
	
	Page 1 of  1

	
	
	

	
	
	


                                                                                                                           COMMENTS  \* MERGEFORMAT 
 ALL PRICES LIST UNLESS NOTED….CALL FOR DISCOUNTS
QUOTE VALID FOR 6 MONTHS FROM QUOTE DATE (quote # above)
ALL PRODUCTS SUBJECT TO ENGINEER APPROVAL

	
	ITEMS
	LIST

	EWC-1
	P-Trap: McGuire 8872CECO
	31.96

	
	Stops & Supplies: McGuire ST17LK
	9.54

	
	Carrier Bi Level: Josam 17560-WCBL
	874.54

	
	
	

	FD-1
	Floor Drain: Josam 30000-5A-Y
	266.11

	
	
	

	JS
	Faucet: T&S Brass B-0665BSTR
	179.50

	
	Mop Hanger: T&S Brass B-0653
	60.00

	
	Hose & Hook: T&S Brass B-0654
	35.00

	
	
	

	LAV
	Faucet: T&S Brass B-0831-01
	359.00

	
	Drain: McGuire 155AECO
	16.91

	
	P-Trap: McGuire 8872CECO
	31.96

	
	Stops & Supplies: McGuire 2165LK
	28.28

	
	Insulation: McGuire PW2000
	76.48

	
	Carrier: Josam 17100
	522.55

	
	
	

	SK
	Faucet: T&S Brass
	

	
	Drain: McGuire 151A
	31.63

	
	P-Trap: McGuire 8912CECO
	33.94

	
	Stops & Supplies: McGuire 2165LK
	28.28

	
	
	

	RCP-1
	Circulating Pump: Armstrong Astro230SS                                     price includes freight
	351.00

	
	
	

	TMV
	Mixing Valve: Leonard 170
	125.0

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	                      ALL MCGUIRE ECO PRODUCTS ARE CASE QTY 25
	

	
	ALL PRODUCTS SUBJECT TO ENGINEERS APPROVAL
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	


 COMMENTS  \* MERGEFORMAT 

 COMMENTS  \* MERGEFORMAT 






