P.S.A., Inc.

www.psaincorporated.com 
#5 Innwood Circle, Suite 106

Little Rock, AR 72211

Phone: (501) 312.8700

Fax: (501) 312.8701
Quotation
Confidential Document

	  Project:
	UAMS 9th & 11th Floor 
	Quote #:
	6111-02R

	Location:
	Little Rock, AR 
	Bid Date:
	6/6/11

	Architect:
	Cromwell
	Date:
	6/1/11

	Engineer:
	Cromwell
	Page 1 of  1

	
	
	

	
	
	


                                                                                                                           COMMENTS  \* MERGEFORMAT 
 ALL PRICES LIST UNLESS NOTED….CALL FOR DISCOUNTS
QUOTE VALID FOR 6 MONTHS FROM QUOTE DATE (quote # above)
ALL PRODUCTS SUBJECT TO ENGINEER APPROVAL

	
	ITEMS
	LIST

	WC-1
	Flush Valve: Delany F1302-1.6-T42
	550.00

	WC-2
	Carrier: JOSAM  Horizontal L/R  12674/12684
	839.46

	
	                            Back to Back Horizontal 12694
	1566.43

	
	                            Vertical L/R  12704/12714
	949.54

	
	                            Back to Back Vertical 12694
	1566.43

	
	Single Add For “SD”
	384.65

	
	Back To Back Add For “SD”
	769.30

	
	
	

	UR-1
	Flush Valve: Delany F1351-1-T42
	550.00

	UR-2
	Carrier: Josam 17550-UR
	10000.00

	
	
	

	LV-1
	Faucet: T&S Brass EC-3102TMV-HW
	910.00

	
	Drain: McGuire 155WCECO
	31.43

	
	P-Trap: McGuire 8872CECO
	31.96

	
	Stops & Supplies: McGuire 2165CC
	26.03

	
	Insulation: McGuire PW2000WC
	91.84

	
	Carrier: Josam 17100
	522.55

	
	
	

	SK-4
	Faucet: T&S Brass B-2866-05
	272.50

	
	Drain: McGuire 152
	34.80

	
	P-Trap: McGuire 8912CECO
	33.94

	
	Stops & Supplies: McGuire 2165CC
	26.03

	
	
	

	SK-5
	Sink: Amtekco C2-2424-24D
	4711.00

	
	Faucet: T&S Brass B-0233-02
	273.50

	
	Drain: T&S Brass B-3940 (x2)
	92.00each

	
	P-Trap: McGuire 8912CECO
	33.94

	
	Stops & Supplies: McGuire 2165CC
	26.03

	
	Continuous Waste: McGuire 111C16G20
	48.95

	
	
	

	SK-11
	Faucet: T&S Brass BL-5700-09
	353.50

	
	Drain: McGuire 151A
	31.63

	
	P-Trap: Orion UTP / RLNSX12
	200.10

	
	Stops & Supplies: McGuire 2165CC
	26.03

	
	Emergency Eyewash: Guardian G5022-FSH-VB
	640.32

	
	
	

	SK-12
	Faucet: T&S Brass BL-5700-09
	353.50

	
	Drain: McGuire 151A
	31.63

	
	P-Trap: Orion UTP / RLNSX12
	200.10

	
	Stops & Supplies: McGuire 2165CC
	26.03

	
	
	

	SS-1
	Faucet: T&S Brass B-0674BSTR
	185.50

	
	Mop Hanger: T&S Brass B-0653
	60.00

	
	Hose & Hook: T&S Brass B-0654
	35.00

	
	
	

	EWC-1
	P-Trap: McGuire 8872CECO
	31.96

	
	Stops & Supplies: McGuire ST17LK
	9.54

	
	Carrier Bi Level: Josam 17560-WCBL
	874.54

	
	
	

	EEW-3
	Emergency Safety Station: Guardian GBF2152
	2514.00

	
	Alarm: Guardian AP280-235
	868.83

	
	Emergency Mixing Valve: Leonard TM-800
	1150.00

	
	
	

	EEW-5
	Emergency Eyewash G5014-VB
	430.22

	
	Emergency Mixing Valve: Leonard TA-300
	680.00

	
	
	

	SK-13
	Faucet: T&S Brass BL-5700-09
	353.50

	
	Drain: McGuire 151A
	31.63

	
	P-Trap: Orion UTP / RLNSX12
	200.10

	
	Stops & Supplies: McGuire 2165CC
	26.03

	
	Emergency Eyewash: Guardian G5022-FSH-VB
	640.32

	
	Emergency Mixing Valve: Leonard TA-300
	680.00

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	                      ALL MCGUIRE ECO PRODUCTS ARE CASE QTY 25
	

	
	ALL PRODUCTS SUBJECT TO ENGINEERS APPROVAL
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	


 COMMENTS  \* MERGEFORMAT 

 COMMENTS  \* MERGEFORMAT 






