P.S.A., Inc.

www.psaincorporated.com 
#5 Innwood Circle, Suite 106

Little Rock, AR 72211

Phone: (501) 312.8700

Fax: (501) 312.8701
Quotation
Confidential Document

	  Project:
	Walgreens Russellville 
	Quote #:
	13012-01R

	Location:
	Russellville, AR
	Bid Date:
	ASAP

	Architect:
	Genesis Design Group
	Date:
	1/30/12

	Engineer:
	MPW Engineering
	Page 1 of  1

	
	
	

	
	
	


                                                                                                                           COMMENTS  \* MERGEFORMAT 
 ALL PRICES LIST UNLESS NOTED….CALL FOR DISCOUNTS
QUOTE VALID FOR 6 MONTHS FROM QUOTE DATE (quote # above)
ALL PRODUCTS SUBJECT TO ENGINEER APPROVAL

	
	ITEMS
	LIST

	EWC-1
	P-Trap: McGuire 8872CECO
	33.57

	
	Stops & Supplies: McGuire ST17LK
	10.02

	
	Carrier Bi Level: Josam 17550-WCBL
	647.14

	
	Carrier Single Level: Josam 17560-WC
	441.50

	
	
	

	LAV-1
	Faucet: T&S Brass B-0890-CER
	217.90

	
	Drain: McGuire 155AECO
	17.77

	
	P-Trap: McGuire 8872CECO
	33.57

	
	Stops & Supplies: McGuire 2165LK
	29.70

	
	Insulation: McGuire PW2000
	80.31

	
	Carrier: Josam 17100
	522.55

	
	
	

	FPH1
	Freeze Proof Wall Hydrant: Josam 71000-12
	915.67

	
	
	

	MB-1
	Faucet: T&S Brass B-0665BSTR
	188.50

	
	Mop Hanger: T&S Brass B-0653
	61.80

	
	Hose & Hook: T&S Brass B-0654
	36.50

	
	
	

	UR-1
	Flush Valve: Delany 451-1-T42
	140.00

	
	Carrier: Josam 17550-UR
	395.54

	
	
	

	WC-1
	Flush Valve: Delany 402-1.6-T42
	140.00

	
	
	

	RP-1
	Recirculating Pump: Armstrong Astro 220 SS                             price includes freight
	331.00

	
	
	

	WHA
	Water Hammer Arrestor: Josam
	

	
	75000A                                                                                                                        1-11 
	316.92

	
	75000B                                                                                                                      12-32
	641.09

	
	75000C                                                                                                                      33-60
	961.63

	
	75000D                                                                                                                    61-113
	2408.31

	
	75000E                                                                                                                  114-154
	2717.97

	
	75000F                                                                                                                  155-330
	3340.92

	
	
	

	TMV-1
	Leonard 270
	125.00

	
	
	

	FD-1
	Floor Drain: Josam 30000-6A-Y
	326.59

	
	
	

	FD-2
	Floor Drain: Josam 300006E1-Y
	540.69

	
	
	

	FD-2P
	Floor Drain: Josam 30000-6A-Y-F4
	562.46

	
	
	

	FCO
	Floor Cleanout: Josam
	

	
	3” 55003-Z-2
	369.00

	
	4” 55004-Z-2
	492.00

	
	
	

	WCO
	Wall Cleanout: Josam
	

	
	3” 58604-CO3
	160.87

	
	4” 58604-CO4
	191.13

	
	
	

	RD-1
	Roof Drain: Josam  
	

	
	2”-4” 21500-Y
	394.33

	
	5”-6” 21500-Y
	563.57

	
	8”     21500-Y
	731.81

	
	
	

	SK-2
	Faucet: T&S Brass B-2866-05
	281.00

	
	Drain: McGuire 151A
	33.22

	
	P-Trap: McGuire 8912CECO
	35.65

	
	Stops & Supplies: McGuire 2165LK
	29.70

	
	 
	 

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	                      ALL MCGUIRE ECO PRODUCTS ARE CASE QTY 25
	

	
	ALL PRODUCTS SUBJECT TO ENGINEERS APPROVAL
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	


 COMMENTS  \* MERGEFORMAT 

 COMMENTS  \* MERGEFORMAT 






